## Sheet1
PROJECT : SURYA APARTMENT
CLIENT :
MEPF CONSULTANT : AASHIR ENGINEERING PVT. LTD.
DOCUMENTS :PLUMBING BOQ
Date : 03.10.2025
REV. : R0
SR. NO. | DESCRIPTION |  | UNIT | Qty. | Rate | Amount
A | SANITARY FIXTURES & CP FITTINGS:
NOTES:-
General Notes: 1) Detail of sanitary fixture are for the information of the contractor only. However model / makes of all sanitary fixture shall be selected by Client / interior team and the same shall be binding for execution. 2) No additional fixing cost shall be paid for change in type of sanitary fixture or fitting. 3) Provision of extension piece for final connection of CP fitting shall be supplied and installed by the contractor accordingly (as required). 4) The rate shall include cost of raw materials, labour, loading and unloading, transportation, scaffolding and all other incidental charges etc., with all leads and lifts, complete as per specifications, drawings and as directed by the Engineer-in-charge. 5) All required civil work related to fixing of sanitaryware & cp fixtures shall be in scope of PHE contractor. 6) The rate quoted shall be applicable for all floors, all heights and all places. 7) All gaps between wall / floor and sanitary vessels shall be filled with sanitary grade sealant. 8) CP Brass or SS screws shall be used for fixing sanitary fixtures and accessories in toilet, bath, pantry and kitchen area As per recommendation finalized model company guidelines. 9 ) All fixtures flow rates as per IGBC Guidelines 10) Any other item required for satisfactory installation shall be in the scope of contractor FOC. 11) Description given below may differ as per final product selection. 12) If All Sanitary Fixtures & CP Fittings with all fittings and accessories will be supplied by the owner / Client Free of cost, in that case contractors will be quote only Installation, testing and commissioning Rates.
1 | Supply, Fixing, Testing and Commissioning wall hung type white vitreous China European water closet with concealed `P' or ‘S’ trap, seat & lid (heavy duty) C.P. brass hinges, including C.I. chair, with chair grouting, rubber buffers, C.P. nuts, bolts, etc. including accessories CI / MS brackets painted with two coats of approved shade over a coat of primer, C.P. Brass screws and wooden cleats. | 1 | No. | 653 |  | 0
|  |  |  | 0 |  | 0
2 | Supply, Fixing, Testing and Commissioning of Concealed flushing cistern with or without Frame with dual flushing actuator plate, flush stop function noise less float valve and fast filling action with all component parts of high quality complete in all respects. Rates to be included considering chasing in the wall as required and making good the same with appropriate mortar. | 1 | No. | 653 |  | 0
|  |  |  | 0 |  | 0
3 | Supply, Fixing, Testing and Commissioning C.P. brass health faucet assembly comprising hand held shower with 8 mm dia flexible tube with mounting bracket fixed on wall complete. | 1 | No. | 653 |  | 0
|  |  |  | 0 |  | 0
4 | Supply, Fixing, Testing and Commissioning of CP brass Two way bib cock including, necessary flange. | 1 | No. | 653 |  | 0
|  |  |  | 0 |  | 0
5 | Supply and Fixing of Twin robe hook | 1 | No. | 653 |  | 0
|  |  |  | 0 |  | 0
6 | Supply, Fixing, Testing and Commissioning of stainless steel toilet paper holder of approved makes. Including chasing in the masonary/R.C.C wall and making good with cement mortar. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
7 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm sand cast Iron P or S trap, flush valve, fittings, nuts, bolts and gasket etc complete including flush pipe, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
8 | Supply, Fixing, Testing and Commissioning vitreous China Wash basin (under / over the counter / Semi recessed) with below mention Accessories 32 mm dia C.P brass waste coupling, 32 mm dia C.P cast brass bottle trap with union, 32 mm dia C.P brass pipe to wall & CP wall flange, rubber acceptors for waste connection and C.I. painted brackets bolts, nuts etc. (Cutting, finishing, making holes in Stone/wood shall be in civil / Interior contractor's scope). | 1 | No. | 753 |  | 0
|  |  |  | 0 |  | 0
9 | Supply, Fixing, Testing and Commissioning of Wall / Table mounted C.P. Brass single lever basin mixer/ Pillar cock with ss flexible connection and brass nuts complete. In case of fixing in stone, Hole making / cutting will be done by civil / Interior contractor. However, marking of hole for fixing of pillar tap to be given by plumbing contractor according to selection of wash basin, pillar cock as per architecture / interior drawing. | 1 | No. | 753 |  | 0
0
10 | Supply, Fixing, Testing and Commissioning of 15 mm dia C. P. Brass angle valve with C.P. brass flange. | 1 | No. | 1255 |  | 0
|  |  |  | 0 |  | 0
11 | Supply, Fixing, Testing and Commissioning of Stainless steel Kitchen Sink with CI bracket (painted), 40 mm dia C.P. brass waste coupling, C.P. brass chain and rubber, 40 mm dia caste brass bottle trap with necessary union, C.P. pipe to wall & CP wall flange complete. In case of fixing in stone, Hole making / cutting will be done civil / Interior contractor. However, marking of hole for fixing of pillar tap to be given by plumbing contractor according to selection of wash basin, pillar cock as per architecture / interior drawing. | 1 |  | 0 |  | 0
a | Single bowl without drain board. |  | No. | QRO |  | 0
b | Single bowl with drain board. |  | No. | 251 |  | 0
c | Double bowl with drain board. |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
12 | Supply, Fixing, Testing and Commissioning of C.P. Brass Sink Mixer swinging costed spout single hole tap with required size. In case of fixing in stone, will be fixed by civil / Interior contractor. However, marking of hole for fixing of pillar tap to be given by plumbing contractor according to selection of wash basin, pillar cock as per architecture / interior drawing. | 1 | No. | 251 |  | 0
|  |  |  | 0 |  | 0
13 | Supply, Fixing, Testing and Commissioning of CP brass short body bib cock including, necessary flange. | 1 | No. | 251 |  | 0
|  |  |  | 0 |  | 0
14 | Supply, Fixing, Testing and Commissioning of CP brass long body bib cock including, necessary flange. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
15 | Supply, Fixing, Testing and Commissioning of CP brass towel ring with screw and rawal plug etc. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
16 | Supply, Fixing, Testing and Commissioning of CP brass towel rod with CP brass bracket of approved make fixed to PVC rawal plug with CP brass screws. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
17 | Hadicapped toilet & shower Supply, fixing, testing & commissioning of handicapped toilet with all require accessories. Designed for people with special needs. One set crane consists of following: EWC with flush tank & seat cover, wash basin, Pillar cock, Disable shower folding seat wall mounted grab bars for EWC, U shaped Grab Bar. With all required accessories with necessary holes and grooves work and making it well finished etc. Complete as per drawing and details. The quoted rated shall be including fixing of ewc, cistern, seat cover, internal fitting, wash basin, lever faucet, grab bars, hand rail, pillar cock, angle cock, flexible pipe, connector pipe, bracket etc with required cement ( white/grey) with required tools, tackles, materials to complete the work up to satisfaction of E-I-C. | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
18 | Supply, Fixing, Testing and Commissioning of hand drier of approved make and Model having twin blower integrated with timer and infrared sensing system automatic which can work 230 volts single phase etc. complete in all respects. | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
19 | Supply of 15 mm dia CP brass extension nipple / hex nipple up to 50 mm long complete in all respect. (This item shall be operated only In case of material supplied by contractor, No labour charges shall be paid) | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
20 | Supply, Fixing, Testing and Commissioning of C. P. Brass concealed mixer / Divertor & wall flange (for shower) including necessary fittings/ accessories, exposed part including cutting & making good the wall wherever required. | 1 | No. | 602 |  | 0
|  |  |  | 0 |  | 0
21 | Supply, Fixing, Testing and Commissioning of revolving type head shower & shower arm. | 1 | No. | 602 |  | 0
|  |  |  | 0 |  | 0
22 | Supply and Fixing of Hand shower with flexible hose and stand. | 1 | No. | 602 |  | 0
|  |  |  | 0 |  | 0
23 | Supply, Fixing, Testing and Commissioning of Bath Spout. | 1 | No. | 602 |  | 0
|  |  |  | 0 |  | 0
24 | Supply, Fixing, Testing and Commissioning of white glazed vitreous China large flat back lipped front Urinal basin with below mention Accessories C.I bracket (colour painted) 40 mm CP brass domical waste, 40 mm C.P. caste brass bottle trap, CP flush pipe with spreader & other necessary fittings C.P. brass hex nipple; elbow; unions, washers, cap, C.P. nuts, bolts etc. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
25 | Supply, Fixing, Testing and Commissioning of Infra-Red based Electronic Urinal flushing system operated on 6V DC (4AA) battery for urinals comprising of solenoid valve, concealed built in strainer & flow mechanism piping, flush mounted sensors with all accessories & fittings complete in all respect in fully operational condition etc including cutting and making good the wall where required. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
26 | Supply and Fixing of white glazed vitreous China urinal partitions of approved make including Rawl plugs, screws or any other approved device for Fixing arrangements. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
27 | Supplying and erecting horizontal / vertical mounting (Floor / Wall mounted ) type storage Water heater (Geyser) with copper container housed in M.S./S.S./ABS body insulated with glass wool/puff complete with heating elements, adjustable thermostats 30ºC to 80ºC, indicating lamp, safety valve, fusible plug, etc. Complete erected with coach bolts, nuts. washers & cementation. Voltage / Frequency (V/Hz) : 230V / 50Hz | 1 |  | 0 |  | 0
a | 06 Ltrs |  | No. | QRO |  | 0
b | 10 Ltrs |  | No. | 602 |  | 0
c | 25 Ltrs |  | No. | 0 |  | 0
d | 50 Ltrs |  | No. | 0 |  | 0
|  |  |  | 0 |  | 0
28 | Supply and Fixing of soap dish | 1 | No. | 702 |  | 0
|  |  |  | 0 |  | 0
29 | Supply and Fixing of liquid soap dispenser | 1 | No. | 77 |  | 0
|  |  |  | 0 |  | 0
30 | Providing and fixing Heavy class SS grating with Collar 150 x 150 mm of approved make, (cockroach trap) including setting in floor with cement mortar to match with floor finish as per architect requirements. | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
31 | Providing and fixing Heavy class SS single piece grating 150 x 150 mm size of approved make, including setting in floor with cement mortar to match with floor finish as per architect requirements. | 1 | No. | 979 |  | 0
|  |  |  | 0 |  | 0
| TOTAL OF SECTION-A SANITARY FIXTURES & CP FITTINGS CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
B | WATER SUPPLY : |  |  | 0
| WATER SUPPLY (INTERNAL & EXTERNAL) : |  |  | 0
| CPVC Pipe Internal : |  |  | 0
1 | Providing and fixing, to wall, ceiling and floor, approved make, CPVC SDR 11 pipes and fittings, conforming to ASTM D 2846, for sizes up to 50 mm and Sch 80 piping for sizes above 50 mm confirming to ASTM F441, for hot and cold water supplies for all internals including jointing with CPVC solvent cement as per manufacturer recommendation ensuring airtight joints, with necessary specials, couplers, unions, elbow, equal tees, adapter (both male and female), reducer (single stage, double stage and triple stage), end cap, fabricated bend, etc., All termination points shall have Brass inserts fittings including testing, cutting and chasing in wall and floors with diamond cutter & making good the same by using 1:1 cement mortar over the fibber mesh, ceiling and floor etc. complete of the following nominal pipe size: | 1 |  | 0
| Galvanised rubber sleeved clamps/ u bolts, brackets, passivated fasteners & direction arrows of appropriate size and spacing as directed by E-I-C shall be included in the price |  |  | 0
a | 15 mm (NB) |  | Rmt. | QRO |  | 0
b | 20 mm (NB) |  | Rmt. | 11346 |  | 0
c | 25 mm (NB) |  | Rmt. | 6852 |  | 0
d | 32 mm (NB) |  | Rmt. | QRO |  | 0
e | 40 mm (NB) |  | Rmt. | QRO |  | 0
f | 50 mm (NB) |  | Rmt. | QRO |  | 0
|  |  |  | 0 |  | 0
| CPVC Pipe External (For Shaft, Terrace, Basement) : |  |  | 0 |  | 0
2 | Providing and fixing, to wall, ceiling and floor, approved make, CPVC SDR 11 pipes and fittings, conforming to ASTM D 2846, for sizes up to 50 mm and Sch 80 piping for sizes above 50 mm confirming to ASTM F441, for hot and cold water supplies for all internals including jointing with CPVC solvent cement as per manufacturer recommendation ensuring airtight joints, with necessary specials, couplers, unions, elbow, equal tees, adapter (both male and female), reducer (single stage, double stage and triple stage), end cap, fabricated bend, etc., All termination points shall have Brass inserts fittings including testing, cutting and chasing in wall and floors with diamond cutter & making good the same by using 1:1 cement mortar over the fibber mesh, ceiling and floor etc. complete of the following nominal pipe size: | 1 |  | 0 |  | 0
| Galvanised rubber sleeved clamps/ u bolts, brackets, passivated fasteners & direction arrows of appropriate size and spacing as directed by E-I-C shall be included in the price |  |  | 0 |  | 0
a | 15 mm (NB) |  | Rmt. | QRO |  | 0
b | 20 mm (NB) |  | Rmt. | QRO |  | 0
c | 25 mm (NB) |  | Rmt. | 1644 |  | 0
d | 32 mm (NB) |  | Rmt. | QRO |  | 0
e | 40 mm (NB) |  | Rmt. | 3044 |  | 0
f | 50 mm (NB) |  | Rmt. | 1066 |  | 0
g | 65 mm (NB) |  | Rmt. | 504 |  | 0
h | 80 mm (NB) |  | Rmt. | 40 |  | 0
i | 100 mm (NB) |  | Rmt. | 33 |  | 0
j | 150 mm (NB) |  | Rmt. | QRO |  | 0
|  |  |  | 0 |  | 0
3 | Providing and fixing Viega Speed press Multi Layer Pipe (ML PE-RT-PIPE) for up to 25mm dia & above 25mm dia Pexfit Pro Fosta Pipe) system with SC-Contur such as sockets, bends, elbows, tees, reducers, unions, flanges, clamps / structural steel supports, hangers, etc. necessary adapters for PB / copper to CP fittings, jointing, sundries, cutting holes in walls / floors / slabs and making good including wrapping with polyethene sheet tape etc. complete for the following nominal bore(NB): | 1 |  | 0 |  | 0
a | 15 mm dia |  | Rmt. | 0 |  | 0
b | 20 mm dia |  | Rmt. | 0 |  | 0
c | 25 mm dia |  | Rmt. | 0 |  | 0
d | 32 mm dia |  | Rmt. | 0 |  | 0
e | 40 mm dia |  | Rmt. | 0 |  | 0
f | 50 mm dia |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
4 | Providing, fixing, testing and commissioning Co-extruded polyethylene composite pressure pipe, as per manufacturer’s specifications meeting the requirements of IS: 15450 having welded aluminium tube reinforcement between inner and outer polyethylene layers being bonded to Aluminium tube by a melt adhesive with welded aluminium tube of itself being capable of sustaining internal pressures. Capable to withstand temperature up to 80° c. Outer layer of pipes shall be black and must have required percentage of carbon black as UV stabiliser to make it safe to use for outdoor as well as concealed installations. Including all crimp ( With SS Crimp Ring) /compression type internal sealing composite/ Brass fittings e.g. elbows, tees, reducers, couplers & connectors etc. with clamp & Spacing: as required complete | 1 |  | 0 |  | 0
a | 15 mm dia |  | Rmt. | 0 |  | 0
b | 20 mm dia |  | Rmt. | 0 |  | 0
c | 25 mm dia |  | Rmt. | 0 |  | 0
d | 32 mm dia |  | Rmt. | 0 |  | 0
e | 40 mm dia |  | Rmt. | 0 |  | 0
f | 50 mm dia |  | Rmt. | 0 |  | 0
g | 65 mm dia |  | Rmt. | 0 |  | 0
h | 80 mm dia |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
5 | Providing and fixing Stainless Steel pipes Make- Viega Sanpress Inox confirming to EN 10312 Material No.1.4401(X5 CrNiMo 17-12-2) with 2.3% Mo(S.S.Grade-316), complete with Press Type fittings Make- Viega Sanpress Inox Material No.1.4401 suitable for doubley secure pressing (two pressings simultaneously– one in front of the crimp and one behind it) for torsion proof and longitudinally forcelocked connection. With Black;EPDM Sealing Element with SC-Contur in accordance with DVGW regulation W534, DW 8501 BL 0551, DW 8511 BQ 0245) for Hot and Cold water supply capable to withstand temperature up to 90 degree centigrade and working pressure 16 bar, such as sockets, bends, elbows, tees, reducers, unions, Flanges etc. necessary adapters for GI/Copper and CP fittings. Clamps with hanger at a spacing as required, jointing, sundries, cutting holes in walls/floors/slabs & making good complete. | 1 |  | 0 |  | 0
a | 22 mm outer dia pipe |  | Rmt. | 0 |  | 0
b | 28 mm outer dia pipe |  | Rmt. | 0 |  | 0
c | 35 mm outer dia pipe |  | Rmt. | 0 |  | 0
d | 42 mm outer dia pipe |  | Rmt. | 0 |  | 0
e | 54 mm outer dia pipe |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
| Thermal Insulation on Embedded in Wall |  |  | 0 |  | 0
6 | Providing & fixing thermal insulation of nitrile rubber (Class "O") of approved make on hot water pipes. Size of insulation tube to be matched / suitable to pipe size. (wrapping of polyglass/other tape to protect insulation shall be paid separately) | 1 |  | 0 |  | 0
a | 15mm (OD) [6mm thick insulation] |  | Rmt. | QRO |  | 0
b | 20mm (OD) [6mm thick insulation] |  | Rmt. | 1896 |  | 0
c | 25 mm (OD) [6mm thick insulation] |  | Rmt. | 1264 |  | 0
|  |  |  | 0 |  | 0
| Thermal Insulation on pipe (Exposed) |  |  | 0 |  | 0
7 | Providing & fixing thermal insulation of nitrile rubber (Class "O") of approved make on hot / cold water pipes. Size of insulation tube to be matched / suitable to pipe size. (wrapping of polyglass/other tape to protect insulation shall be paid separately) | 1 |  | 0 |  | 0
a | 15 mm Dia (9mm Thick Insulation) |  | Rmt. | 0 |  | 0
b | 20 mm Dia (9mm Thick Insulation) |  | Rmt. | 0 |  | 0
c | 25 mm Dia (9mm Thick Insulation) |  | Rmt. | 0 |  | 0
d | 32 mm Dia (13mm Thick Insulation) |  | Rmt. | 0 |  | 0
e | 40 mm Dia (13mm Thick Insulation) |  | Rmt | 0 |  | 0
f | 50 mm Dia (13mm Thick Insulation) |  | Rmt | 0 |  | 0
g | 65 mm Dia (19mm Thick Insulation) |  | Rmt | 0 |  | 0
h | 80 mm Dia (19mm Thick Insulation) |  | Rmt | 0 |  | 0
i | 100 mm Dia (19mm Thick Insulation) |  | Rmt | 0 |  | 0
|  |  |  | 0 |  | 0
8 | Providing and fixing proprietary polyshield tape for outer mechanical protection on nitrile rubber insulation comprising of wrapping with poly glass tape. | 1 |  | 0 |  | 0
a | 15 mm Dia |  | Rmt. | 0 |  | 0
b | 20 mm Dia |  | Rmt. | 0 |  | 0
c | 25 mm Dia |  | Rmt. | 0 |  | 0
d | 32 mm Dia |  | Rmt. | 0 |  | 0
e | 40 mm Dia |  | Rmt | 0 |  | 0
f | 50 mm Dia |  | Rmt | 0 |  | 0
g | 65 mm Dia |  | Rmt | 0 |  | 0
h | 80 mm Dia |  | Rmt | 0 |  | 0
i | 100 mm Dia |  | Rmt | 0 |  | 0
|  |  |  | 0 |  | 0
9 | Providing, fixing, testing and commissioning of full way lever operated forged brass ball valve of brass body with forged brass hard chrome-plated steel ball working pressure not less than 10 Kg / sqcm with threaded / flanged joints complete with nuts, bolts, gaskets, washers etc. | 1 |  | 0 |  | 0
a | 15 mm dia |  | No. | QRO |  | 0
b | 20 mm dia |  | No. | QRO |  | 0
c | 25 mm dia |  | No. | 896 |  | 0
d | 32 mm dia |  | No. | QRO |  | 0
e | 40 mm dia |  | No. | 148 |  | 0
f | 50 mm dia |  | No. | 115 |  | 0
|  |  |  | 0 |  | 0
10 | Providing and fixing CS three piece ball valve with moulded PTFE seat and SS ball, Including necessary nipple, coupling, union etc. | 1 |  | 0 |  | 0
a | 15 mm dia |  | No. | QRO |  | 0
b | 20 mm dia |  | No. | QRO |  | 0
c | 25 mm dia |  | No. | QRO |  | 0
d | 32 mm dia |  | No. | QRO |  | 0
e | 40 mm dia |  | No. | QRO |  | 0
f | 50 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
11 | Supply, Installing, testing and commissioning C.I butterfly valve (Lever operated), wafer end type class PN 16 as per I.S:13095 or BS:5155, including providing of necessary flanges, nuts & bolts (GI), gaskets etc., complete (including cost of flanges) as per drawings, specification and as directed by the Engineer's Representative. | 1 |  | 0 |  | 0
a | 50 mm dia |  | No. | QRO |  | 0
b | 65 mm dia |  | No. | 65 |  | 0
c | 80 mm dia |  | No. | 36 |  | 0
d | 100 mm dia |  | No. | 17 |  | 0
e | 150 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
12 | Supply, Installing, testing and commissioning C.I butterfly valve (Gear operated), wafer end type class PN 16 as per I.S:13095 or BS:5155, including providing of necessary flanges, nuts & bolts (GI), gaskets etc., complete (including cost of flanges) as per drawings, specification and as directed by the Engineer's Representative. | 1 |  | 0 |  | 0
a | 150 mm dia |  | No. | 0 |  | 0
b | 200 mm dia |  | No. | 0 |  | 0
c | 250 mm dia |  | No. | 0 |  | 0
|  |  |  | 0 |  | 0
13 | Supply , installation ,testing & Commissioning Slow closing motorised butterfly valve (with bypass arrangement Consisting of 3 nos. Manual Butterfly Valve ) rating PN 1.6 with float type sensors suitable for 240 volts with working pressure rating of not less than 5 kg/cm2 with control panel and sensors to open valve when water level is low in tanks and to close when water level is high in water tanks including butterfly valves, necessary 1.0 Sqm Wires /cables, conduits, up to junction box etc. complete. (up to 15 mt qty approx.) .valve is compatible to BMS System. type : Wafer type Operation : Electrical Actuator based body : S.G. Iron Actuator Base : Carban Steel disc : Stainless steel Electrical Panel : IP67 protection Body Lining : EPDM | 1 |  | 0 |  | 0
a | 80 mm dia |  | No. | QRO |  | 0
b | 100 mm dia |  | No. | QRO |  | 0
c | 150 mm dia |  | No. | QRO |  | 0
d | 200 mm dia |  | No. | 0 |  | 0
e | 250 mm dia |  | No. | 0 |  | 0
|  |  |  | 0 |  | 0
14 | Providing and fixing brass Auto air vent valve rated for PN 10 including Brass ball valve, nipple, etc. all fitting & accessories. | 1 |  | 0 |  | 0
a | 15 mm dia |  | No. | QRO |  | 0
b | 20 mm dia |  | No. | 5 |  | 0
c | 25 mm dia |  | No. | 5 |  | 0
|  |  |  | 0 |  | 0
15 | Supplying and fixing Prayag make High Pressure rated PVC ball float valve with and brass rods of required length suitable for Test pressure of not less than 10 kg/sq cm. of the following sizes. | 1 |  | 0 |  | 0
a | 25 mm dia |  | No. | 0 |  | 0
b | 32 mm dia |  | No. | 0 |  | 0
c | 40 mm dia |  | No. | QRO |  | 0
d | 50 mm dia |  | No. | 15 |  | 0
|  |  |  | 0 |  | 0
16 | Providing and fixing CI Dual plate wafer type non return valve / check valve [PN 16] With SS-304 Discs and Nitrile Rubber Lining with Bronze Disc, Seat Test Pressure 16 Kg/cm2g tested to 24 Kg/Sq.cm pressure complete with all fitting and accessories i.e. rubber gasket, flanges, union, nuts, bolts, washer etc. | 1 |  | 0 |  | 0
a | 40 mm dia |  | No. | QRO |  | 0
b | 50 mm dia |  | No. | QRO |  | 0
c | 65 mm dia |  | No. | 10 |  | 0
d | 80 mm dia |  | No. | QRO |  | 0
e | 100 mm dia |  | No. | QRO |  | 0
f | 150 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
17 | Providing, fixing, jointing and testing, PN-10 pressure rating heavy quality Brass multi utility non return valve / Check valve confirming to IS 778, with screwed end, Test Pressure : Shell : 15 kg/cm², Seat : 10 kg/cm² on water supply lines of the following nominal bore (NB) size: | 1 |  | 0 |  | 0
a | 15 mm |  | No. | QRO |  | 0
b | 20 mm |  | No. | QRO |  | 0
c | 25 mm |  | No. | QRO |  | 0
d | 32 mm |  | No. | QRO |  | 0
e | 40 mm |  | No. | QRO |  | 0
f | 50 mm |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
18 | Supply, Installing, testing and commissioning of Solenoid valve with bypass line including 3 no's of brass ball valve and control panel, including providing of Brass Adapters, flanges/unions, nuts, bolts and washers complete including electrical work as required for applications. | 1 |  | 0 |  | 0
a | 40 mm dia |  | No. | QRO |  | 0
b | 50 mm dia |  | No. | QRO |  | 0
c | 80 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
19 | Supplying fixing, Testing and commissioning Water meter with direct reading Dial in KL with all integral parts of Gun metal / brass up to 50mm dia. And C.I body above 50mm dia. with necessary fitting such as Threaded Pieces, union pressure gauge and isolation cock, flange piece for future removal, flanges/union complete for following size pipe line (1 No. strainer , 3 Nos. valves & 2 Nos. Pressure gauge shall be provided at inlet & outlet and cost shall be inclusive for the same). Ball valve up to 50mm dia and Butterfly valve above 50mm dia to be considered. | 1 |  | 0 |  | 0
a | 25 mm dia |  | No. | QRO |  | 0
b | 32 mm dia |  | No. | QRO |  | 0
c | 40 mm dia |  | No. | QRO |  | 0
d | 50 mm dia |  | No. | QRO |  | 0
e | 65 mm dia |  | No. | QRO |  | 0
f | 80 mm dia |  | No. | 1 |  | 0
g | 100 mm dia |  | No. | 6 |  | 0
h | 150 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
20 | Supply, Installing, testing and commissioning Pressure Reducing station for water supply comprising of 02 Nos. of PRV with Strainer and 04 Nos. of Brass ball valve and 2 Nos. of Pressure Gauge (up to 50mm dia.) & CI butterfly valve (PN16) (Above 50mm dia.) for bypass arrangement. The complete system is tested to a pressure not less than 15 Kg/Cm2 and suitable to reduce the pressure from 3.5 Kg/Cm2 to 1.0 Kg/Cm2(or as desired at site) including providing of flanges/unions, nuts, bolts and washers complete as required for applications. (Horizontal or vertical as applicable) as per drawings, specification and as directed by the Engineer's Representative. | 1 |  | 0 |  | 0
a | 20 mm |  | No. | QRO
b | 25 mm |  | No. | 29 |  | 0
c | 32 mm |  | No. | QRO |  | 0
d | 40 mm |  | No. | 40 |  | 0
e | 50 mm |  | No. | 2 |  | 0
f | 65 mm |  | No. | QRO |  | 0
0
21 | Supply, Installation, Testing and commissioning of Water hammer arrestor, hydro pneumatic air cushion and 'O' ring sealed pistons fixed screwed with unions and fixing accessories, nuts, bolts, gaskets, washers, supports etc., matching flanges to suit the piping material specified and in accordance with specification. | 1 |  | 0 |  | 0
a | 15 mm dia |  | No. | 0 |  | 0
b | 20 mm dia |  | No. | QRO |  | 0
c | 25 mm dia |  | No. | 10 |  | 0
|  |  |  | 0 |  | 0
22 | Supply , Installation , testing and commissioning of inline flange mounted Electromagnetic flow meter pre-amplifier and microprocessor based suitable for water supply Application. Specification : Application : Water Supply Protection : IP 68 Liner : Rubber / PTEF Flow tube : SS-316 Accuracy : 0.3% - 0.5% Power Supply : 220V , 50 Hz Output : 4-20mA (Integrated to BMS ) LED Display for flow meter : 4 digit Indication . LED Display for totalizer : 8 digit indication. Ambient Temperature : 0-50˚C Complete with all electrical connection , Accessories , wiring , conduits and support with all respect to make functional. provision of Bypass arrangement in case of maintenance . (1 No. strainer , 3 Nos. valves & 2 Nos. Pressure gauge shall be provided at inlet & outlet and cost shall be inclusive for the same). Ball valve up to 50mm dia and Butterfly valve above 50mm dia to be considered. | 1 |  | 0 |  | 0
a | 40 mm |  | No. | QRO |  | 0
b | 50 mm |  | No. | QRO |  | 0
c | 65 mm |  | No. | QRO |  | 0
d | 80 mm |  | No. | QRO |  | 0
e | 100 mm |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
23 | Construction brick masonry chamber (for Housing valves & accessories) Valve chamber with 75 class designation brick work in cement mortar 1:5 (1 cement : 5 find sand) for valve, with cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design. ( Rate to be quoted considering clear size of chambers) | 1 |  | 0 |  | 0
a | 300mm x 300mm x up to 1000 mm depth with 300x300 mm size FRP Cover and frame of load bearing capacity capacity of 12.5T fixed in cement. |  | No. | QRO |  | 0
b | 600mm x 600mm x up to 1000 mm depth with 600x600 mm size FRP Cover and frame of load bearing capacity capacity of 12.5T fixed in cement. |  | No. | QRO |  | 0
c | 1200mm x 900mm x up to 1000 mm depth with 600x600 mm size FRP Cover and frame of load bearing capacity capacity of 12.5T fixed in cement. |  | No. | QRO |  | 0
0
| TOTAL OF SECTION-B WATER SUPPLY (INTERNAL & EXTERNAL) CARRIED OVER TO SUMMARY |  |  |  |  | 0
0
C | INTERNAL & EXTERNAL SEWAGE/DRAINAGE NETWORK: |  |  | 0
1 | Supply, installation, testing and commissioning UPVC pressure pipes of 6Kg/Sq.cm² pressure rating class III (IS : 4985-2000) including fittings like tees, bends, "Y", cowl, cleanout plug, reducers, bushings, coupling including clamping and supporting as per specifications, jointing with solvent joint, testing etc. complete as directed. Note : 1.0 Only Moulded fittings shall be used for all size pipe dia , No fabricated fitting allowed . 2.0 Rigid fabricated MS hot dip galvanized/ painted with 2 coats of synthetic enamel paint over one coat of zinc chromate primer to be provided as per dwg. for pipe sizes 200mm & above. 2.For all shaft every floor shaft signages mention with direction of flow indication. 3.For all basement level every 20mtr and at terrace level every 10mtr flow direction of pipe with type of pipes to be mentioned by vendor as per direction of site in charge. (For Terrace , building and basement Suspended lines) | 1 |  | 0
| Galvanised rubber sleeved clamps/ u bolts, brackets, passivated fasteners & legend boards shall be included in the price |  |  | 0
| Cutting and chasing in wall and floors with diamond cutter for UPVC pipes and fittings and making good the same by using 1:1 cement mortar over the mesh. |  |  | 0
a | 40 mm |  | Rmt. | QRO |  | 0
b | 50 mm |  | Rmt. | 37 |  | 0
c | 75 mm |  | Rmt. | QRO |  | 0
d | 110 mm |  | Rmt. | 89 |  | 0
e | 160 mm |  | Rmt. | QRO |  | 0
f | 200 mm |  | Rmt. | 32 |  | 0
g | 250 mm |  | Rmt. | QRO |  | 0
h | 300mm |  | Rmt. | QRO |  | 0
2 | Supply, installation, testing and commissioning UPVC pressure pipes of 10 Kg/Sq.cm² pressure rating class V (IS : 4985-2000) including fittings like tees, bends, "Y", cowl, cleanout plug, reducers, bushings, coupling including clamping and supporting as per specifications, jointing with solvent joint, testing etc. complete as directed. Note : 1.0 Only Moulded fittings shall be used for all size pipe dia , No fabricated fitting allowed . 2.0 Rigid fabricated support MS hot dip galvanized/ painted with 2 coats of synthetic enamel paint over one coat of zinc chromate primer to be provided as per dwg. for pipe sizes 200mm & above. 2.For all shaft every floor shaft signages mention with direction of flow indication. 3.For all basement level every 20mtr and at terrace level every 10mtr flow direction of pipe with type of pipes to be mentioned by vendor as per direction of site incharge. (For Terrace , building and basement Suspended lines) | 1 |  | 0 |  | 0
| Galvanised rubber sleeved clamps/ u bolts, brackets, passivated fasteners & legend boards shall be included in the price |  |  | 0 |  | 0
| Cutting and chasing in wall and floors with diamond cutter for UPVC pipes and fittings and making good the same by using 1:1 cement mortar over the mesh. |  |  | 0 |  | 0
a | 25 mm |  | Rmt. | QRO |  | 0
b | 32 mm |  | Rmt. | QRO |  | 0
c | 40 mm |  | Rmt. | QRO |  | 0
d | 50 mm |  | Rmt. | 2268 |  | 0
e | 75 mm |  | Rmt. | 3067 |  | 0
f | 90 mm |  | Rmt. | QRO |  | 0
g | 110 mm |  | Rmt. | 4890 |  | 0
h | 160 mm |  | Rmt. | 3669 |  | 0
i | 200 mm |  | Rmt. | QRO |  | 0
j | 250mm |  | Rmt. | QRO |  | 0
k | 300mm |  | Rmt. | QRO |  | 0
|  |  |  | 0 |  | 0
3 | Providing, fixing, jointing and testing UPVC traps of self cleansing design with water seal not less than 50 mm., with or without vent, jointing with appropriate lubricant, cutting chases / hole in floors / slabs and bringing the same in proper condition and shape after placing the trap in right position in case of suspended / open plumbing. Setting the trap in 1:2:4 CC in case of concealed plumbing , etc. complete, as required. Temporary airtight PVC cover to be provided to prevent dirt entry. | 1 |  | 0 |  | 0
a | 110x75x50 (Multi Floor Trap) |  | No. | 51 |  | 0
b | 110mm floor trap |  | No. | QRO |  | 0
c | 110 X 110 mm "P" TYPE - P TRAP |  | No. | 1038 |  | 0
|  |  |  | 0 |  | 0
4 | Supplying, fixing, testing and commissioning UPVC multi inlet connection / Height riser / Hopper (3 or 4 nos. of 50mm / 75mm dia pipe inlet) made of 110mm dia pipe to be fixed with inlet of "P" trap or Floor trap. Excess connections to be plugged with solid endcap. Inlet to be protected of dust entry with endcap. | 1 | No. | 979 |  | 0
|  |  |  | 0 |  | 0
5 | Providing and fixing UPVC trap complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover not to be less than 4.50 kg and frame not to be less than 2.70 kg as per standard design: With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 (Chamber depth maximum up to 1000mm including Excavation, backfilling, 100mm thick PCC for chamber, 230mm wall thickness with inside and outside plaster) 150 X 100 mm "P" TYPE - GULLY TRAP - 100 mm OUTLET | 1 | No. | 2 |  | 0
0
6 | Providing and fixing of UPVC Bottle Gully Trap Size 160 x 110 mm | 1 | No. | 0
0
7 | Providing and fixing UPVC clean out plug with suitable End cap, male threaded joint/reducer with to Pipe/fittings . complete in all respect. | 1 |  | 0 |  | 0
a | 75 mm dia. |  | No. | QRO |  | 0
b | 100 mm dia. |  | No. | 13 |  | 0
c | 150 mm dia |  | No. | 44 |  | 0
d | 200 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
8 | Providing and fixing UPVC Floor clean out plug with suitable End cap, male threaded joint/reducer with to Pipe/fittings . complete in all respect. | 1 |  | 0 |  | 0
a | 75 mm dia. |  | No. | QRO |  | 0
b | 100 mm dia. |  | No. | QRO |  | 0
c | 150 mm dia |  | No. | QRO |  | 0
d | 200 mm dia |  | No. | QRO |  | 0
0
9 | Supply, Installation, testing and commissioning of mineral filled multilayer (PP/PP mineral filled/PP) Polypropylene low noise pipes As per EN 12056 / EN-1451-1 with Min. density 1.9 gm/cm3 (for noise reduction) with rubber sealing rings as per approved manufacturer recommendation including necessary fittings such as bends, tees, "y" , Door bends , Cleanouts, plugs , reducers, nuts, bolts, gaskets, supports and plugs etc. Fixing at wall/ ceiling level supported by clamps, "Y" branches, hangers etc. as per the manufacturer per their recommendation for low noise application for Vertical / Horizontal. Supporting drawings and schematics should be provided as recommended by the Supplier to ensure the low noise application. Cutting holes and chases in Block work and making good the same to original conditions complete in all respects. All hangers, clamps, brackets, anchor/fixed support, guides, rollers etc. shall be of galvanized iron. Rigid fabricated support MS hot dip galvanized/ painted with 2 coats of synthetic enamel paint over one coat of zinc chromate primer to be provided as per dwg. for pipe sizes 160mm & above. | 1 |  | 0 |  | 0
a | 40mm |  | Rmt. | 0 |  | 0
b | 50mm |  | Rmt. | 0 |  | 0
c | 63mm |  | Rmt. | 0 |  | 0
d | 75mm |  | Rmt. | 0 |  | 0
e | 110mm |  | Rmt. | 0 |  | 0
f | 125mm |  | Rmt. | 0 |  | 0
g | 160mm |  | Rmt. | 0 |  | 0
h | 200mm |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
10 | Supply , installation , testing and commissioning Polypropylene (PP) traps of self cleaning design with Min. 50mm water seal with and without vent arm jointing with push fit rubber ring socket fittings complete, cutting chases / hole in floors / slabs and bringing the same in proper condition and shape after placing the trap in right position in case of suspended / open plumbing. Setting the trap in 1:2:4 CC in case of concealed plumbing , etc. complete, as required. The trap shall be of following sizes: Temporary airtight PVC cover to be provided to prevent dirt entry. | 1 |  | 0 |  | 0
a | 110 mm Multitrap ( single 75mm outlet and three 50 mm outlets) |  | No. | 0 |  | 0
b | 110 mm Nahani Trap |  | No. | 0
c | 110 mm "P" Trap |  | No. | 0 |  | 0
|  |  |  | 0 |  | 0
11 | Supplying, fixing, testing and commissioning Polypropylene (pp) multi inlet connection / Height riser / Hopper (3 or 4 nos. of 50mm / 75mm dia pipe inlet) made of 110mm dia pipe to be fixed with inlet of "P" trap or Floor trap. Excess connections to be plugged with solid endcap. Inlet to be protected of dust entry with endcap. | 1 | No. | 0 |  | 0
0
12 | Providing, fixing, testing and commissioning of Cast iron centrifugally Hubless soil, waste & vent Pipes (conforming to IS: 15905 – 2011/ ISO 6594) cut to required lengths including all fittings such as bends, junctions, inspection doors, , cowls, access pieces /plugs etc. Fittings including jointing with stainless steel coupling with EPDM Rubber gasket, clamps, tie rod, Anchor fastener etc as required/directed at site including testing complete. (Horizontal & Vertical Soil, Waste, Vent & Pipe). | 1 |  | 0 |  | 0
| In case of requirement of structural steel supports, shall be paid separately |  |  | 0 |  | 0
a | 50 mm dia |  | Rmt. | 0 |  | 0
b | 75 mm dia |  | Rmt. | 0 |  | 0
c | 100 mm dia |  | Rmt. | 0 |  | 0
d | 150 mm dia |  | Rmt. | 0 |  | 0
e | 200 mm dia |  | Rmt. | 0 |  | 0
f | 250 mm dia |  | Rmt. | 0 |  | 0
f | 300 mm dia |  | Rmt. | 0 |  | 0
0
13 | Providing and fixing Cast Hubless clean out plug with suitable insert keys for opening in End cap, male threaded joint/reducer with to Pipe/fittings . complete in all respect. | 1 |  | 0 |  | 0
a | 75 mm dia. |  | No. | 0 |  | 0
b | 100 mm dia. |  | No. | 0 |  | 0
c | 150 mm dia |  | No. | 0 |  | 0
d | 200 mm dia |  | No. | 0 |  | 0
0
14 | Supplying and laying Single wall corrugated PVC Perforated sub-surface drainage pipe Manufactured as per IS 9271 – 2004 pre-wrapped Geo-Textile filter made from minimum 2.5mm thick and weight not less than 250 GSM Polyester fibber including required fittings Confirming to IS 9271 with laying of 300 GSM GEO textile and pebbles (size- 20mm to 30mm including necessary excavation (minimum 600mm wide and 600mm deep) as shown in the drawing or as per direction of engineer in charge. | 1 |  | 0 |  | 0
a | 65mm |  | Rmt. | QRO |  | 0
b | 80mm |  | Rmt. | QRO |  | 0
c | 100mm |  | Rmt. | 392 |  | 0
d | 160mm |  | Rmt. | 236 |  | 0
e | 200mm |  | Rmt. | QRO |  | 0
f | 250mm |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
15 | Providing and laying of Foam Core Pipe PVC self fit pipe as per IS:16098 class SN-8 pipes to the specified invert level and slope and full leak proof joining with rubber ring click ring jointing etc., complete with testing. With proper bedding work at 1mtr interval. including necessary excavation depth up to 1500 mm in all types of soil, dewatering, backfilling, watering, ramming/compaction, removing the surplus excavated material up to a lead of 50 m complete as required | 1 |  | 0 |  | 0
a | 110mm |  | Rmt. | 0 |  | 0
b | 160mm |  | Rmt. | 0 |  | 0
c | 200mm |  | Rmt. | 0 |  | 0
d | 250mm |  | Rmt. | 0 |  | 0
e | 315mm |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
16 | Providing, Fixing, testing and commissioning and laying DWC pipes EN 13476 Part –3; SN-4 including testing of pipes and joints etc. complete with the necessary excavation, providing and laying PCC (1:4:8), laying, refilling, compaction, dewatering, curing, retesting and disposal of any excess earth/soil from the site as per specifications and as directed by Engineer In Charge. | 1 |  | 0 |  | 0
| 300 mm. |  | Rmt. | QRO |  | 0
| 230 mm. |  | Rmt. | QRO |  | 0
| 150 mm. |  | Rmt. | QRO |  | 0
| 110 mm. |  | Rmt. | QRO |  | 0
|  |  |  | 0 |  | 0
17 | Supply , installation , testing and commissioning of ready made poly concreate podium/basement floor ( 150mm wide x 55mm ) deep swale drain including all fitting and accessories as per approved make and specification . | 1 | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
18 | Supply , installation , testing and commissioning of single slot drain channel (with 10mm drainage slot and 150mm channel) with surface element to fix in the finish floor and underlying channel component complete with support frame, drain pipe connection arrangement and other accessories of approved make including matching of inverts as per dwgs and site conditions | 1 | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
19 | Supply , installation , testing and commissioning of top slots drain Polymer concrete drainage channel / Modified without edge protection Suitable for the C*250 Load class and conform to the EN 1433 including End Cap for Channel end with preformed knockouts dia suitable for channel body , All related item with respect to top slot drain are included in given running meter and as per standard drawing and installation direction of site incharge . Installation height will be varies as per Gradient slope at existing site. | 1 |  | 0 |  | 0
a | 150mm Wide drain channel |  | Rmt. | QRO |  | 0
b | 200mm Wide drain channel |  | Rmt. | QRO |  | 0
c | 250mm Wide drain channel ( Double slot ) |  | Rmt. | QRO |  | 0
d | 300mm Wide drain channel ( Double slot ) |  | Rmt. | QRO |  | 0
e | 350mm Wide drain channel ( Double slot ) |  | Rmt. | QRO |  | 0
f | 400mm Wide drain channel ( Double slot ) |  | Rmt. | QRO |  | 0
g | 450mm Wide drain channel ( Double slot ) |  | Rmt. | 5 |  | 0
h | 600mm Wide drain channel ( Double slot ) |  | Rmt. | 16 |  | 0
|  |  |  | 0 |  | 0
20 | Providing laying (to level or slopes) and jointing Reinforced Cement Concrete medium to heavy duty non-pressure pipes I.S. Class NP3 of the following internal diameter with collars and butt ends prepared for collar joints including testing of joints complete. | 1 |  | 0 |  | 0
a | 150 mm dia RCC pipe |  | Rmt. | 0 |  | 0
b | 200 mm dia RCC pipe |  | Rmt. | 0 |  | 0
c | 250 mm dia RCC pipe |  | Rmt. | 0 |  | 0
d | 300 mm dia RCC pipe |  | Rmt. | 0 |  | 0
e | 400 mm dia RCC pipe |  | Rmt. | 0 |  | 0
f | 500 mm dia RCC pipe |  | Rmt. | 0 |  | 0
g | 600 mm dia RCC pipe |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
21 | Earth Work in Excavation of required width for storm water, sewerage, water supply pipes at bottom depth up to 1.5 m including getting out the excavated soil and Refilling the soil as required in layer disposing of surplus excavated soil as directed within a lead of 50 m for all kinds of soil. | 1 |  | 0 |  | 0
a | Pipes, exceeding 80 mm dia but not exceeding 300 mm dia. |  | Rmt. | QRO |  | 0
b | Pipes, exceeding 300 mm dia but not exceeding 600 mm dia. |  | Rmt. | QRO |  | 0
|  |  |  | 0 |  | 0
22 | Earth Work in Excavation of required width for storm water, sewerage, water supply pipes at bottom depth 1.5 m to 3m including getting out the excavated soil and Refilling the soil as required in layer disposing of surplus excavated soil as directed within a lead of 50 m for all kinds of soil. | 1 |  | 0 |  | 0
a | Pipes, exceeding 80 mm dia but not exceeding 300 mm dia. |  | Rmt. | QRO |  | 0
b | Pipes, exceeding 300 mm dia but not exceeding 600 mm dia. |  | Rmt. | QRO |  | 0
|  |  |  | 0 |  | 0
23 | Providing and laying cement concrete 1:4:8 mix ( 1 coarse cement : 4 coarse Sand : 8 graded stone aggregate) for bed concrete or / and encasing including required shuttering, curing etc. complete as directed for all heights and depths. | 1 | m³ | QRO |  | 0
|  |  |  | 0 |  | 0
24 | Constructing brick masonry manhole with bricks of class designation 75 in cement mortar 1:5 (1 cement : 5 coarse sand) with RCC top slab of 1:2:4 mix (1 coarse cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size), 150 mm thick foundation concrete 1:4:8 mix (1 coarse cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside and outside plastering 12mm thick in cement mortar 1:3 (1 coarse cement : 3 coarse sand) finished with a floating coat of neat cement inside and rough plaster on outside and making channel in cement concrete 1:2:4 mix, (1 coarse cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) neatly finished complete M.S plastic coated foot rests, complete as per standard design and approved drawings, including the cost of excavation, back filling, disposal of surplus earth, foot rests and other associated civil works including centering shuttering all complete. | 1 |  | 0 |  | 0
a | 600 x 600 x up to 1000 mm deep. |  | No. | QRO |  | 0
b | 900 x 800 x up to 1200 mm deep. |  | No. | QRO |  | 0
c | 1200 x 900 x up to 1500 mm deep. |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
25 | Construction of Catch Basin ( Road gully chamber ) of the following sizes in brick work in cement mortar 1:5 necessary 150mm thickness foundation concrete (1:4:8), 150mm wall thickness inside plastering 15 mm thick with cement mortar 1:4 and rough plaster 20 mm thick on outside with a floating of neat cement. Including necessary excavation in all soil types, dewatering, refilling, watering, ramming, removing the surplus excavated material up to a lead of 100 m and making good the same complete as required. The required depth of catch basin varies from 450 to 900mm . The rate includes connections to trenches / pipes. Manhole cover will be paid separately. | 1 |  | 0 |  | 0
a | 450 x 450 mm clear inside dimensions ( Depth Min. 450mm to Max.750mm ) |  | No. | QRO |  | 0
b | 600 x 600 mm clear inside dimensions ( Depth Min.600mm to Max. 900mm ) |  | No. | 0 |  | 0
c | 750 x 750 mm clear inside dimensions ( Depth Min.600mm to Max. 900mm ) |  | No. | QRO
|  |  |  | 0 |  | 0
26 | Supply , Installation , testing and commissioning of FRP (Fiberglass Reinforced Polymer) Water gully chamber grating with frame design as per as per BSEN 124, IS 1726 25 ton Load in removable sections with matching frames of MS angles or making a similar size of offset in floor trimix / concrete, over open channel / chamber as per the drawings and designs and approved by architect and testing of joints complete as per direction of Engineer in Charge. Note : Min. 30% opening required in cover for entry surface water. | 1 |  | 0 |  | 0
a | 450mm x 450mm |  | No. | QRO |  | 0
b | 600mm x 600mm |  | No. | 0 |  | 0
C | 750mm x 750mm |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
27 | Constructing brick masonry circular manhole 0.91 m internal dia at bottom and 0.56 m dia at top up to 0.91 m depth with 75 class designation F.P.S. bricks in cement mortar 1 : 4 (1 cement : 4 coarse sand) inside and outside cement plaster 12 mm thick with cement mortar 1 : 3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement foundation concrete 1 : 3 : 6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channels in cement concrete 1 : 2 : 4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, including earthwork in excavation in all kinds of soil, backfilling around manhole all complete as per standard design. M30 grade RCC slab including cement and reinforcement with shuttering arrangement to be considered in cost. | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
28 | Extra over for additional depth for above item | 1 |  | 0 |  | 0
| Depth above 0.91 to 1.65 mtr. |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
29 | Constructing brick masonry circular manhole 1.22 m internal dia at bottom and 0.56 m dia at top up to 1.66 m depth with 75 class designation F.P.S. bricks in cement mortar 1 : 4 (1 cement : 4 coarse sand) inside and outside cement plaster 12 mm thick with cement mortar 1 : 3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement foundation concrete 1 : 3 : 6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channels in cement concrete 1 : 2 : 4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, including earthwork in excavation in all kinds of soil, backfilling around manhole all complete as per standard design. M30 grade RCC slab including cement and reinforcement with shuttering arrangement to be considered in cost. | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
30 | Extra over for additional depth for above item | 1 |  | 0 |  | 0
| Depth above 1.66 to 2.3 mtr. |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
31 | Constructing brick masonry circular manhole 1.52 m internal dia at bottom and 0.56 m dia at top up to 2.3 m depth with 75 class designation F.P.S. bricks in cement mortar 1 : 4 (1 cement : 4 coarse sand) inside and outside cement plaster 12 mm thick with cement mortar 1 : 3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement foundation concrete 1 : 3 : 6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channels in cement concrete 1 : 2 : 4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, including earthwork in excavation in all kinds of soil, backfilling around manhole all complete as per standard design. M30 grade RCC slab including cement and reinforcement with shuttering arrangement to be considered in cost. | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
32 | Extra over for additional depth for above item | 1 |  | 0 |  | 0
| Depth above 2.3 mtr. |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
33 | Providing and fixing FRP cover to be fixed as per required level with appropriate cement mortar etc. complete as directed. | 1 |  | 0 |  | 0
a | 300mm X 300mm - 2.5 MT for pedestrian load |  | No. | QRO |  | 0
b | 300mm X 300mm - 5 MT for 2 wheeler / light vehicle load |  | No. | QRO |  | 0
c | 450mm X 450mm - 2.5 MT for pedestrian load |  | No. | QRO |  | 0
d | 450mm X 450mm - 5 MT for 2 wheeler / light vehicle load |  | No. | QRO |  | 0
e | 600mm dia. - B125 for 4 wheeler load |  | No. | QRO |  | 0
f | 600mm X 600mm - B125 for 4 wheeler load |  | No. | QRO |  | 0
g | 600mm dia. - C250 for truck / tempo load |  | No. | QRO |  | 0
h | 600mm X 600mm - C250 for truck / tempo load |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
34 | Providing & fixing manhole foot rests; poly propylene, steel reinforcement The polypropylene shall confirm to ASTM D-410 and shall be injection moulded around 12mm dia Fe-415 Steel reinforcing bar. The foot rest shall be provided in RCC walls / brick walls as per requirement of design / project manager. | 1 | No. | 0 |  | 0
|  |  | No. | 0 |  | 0
35 | Providing and fixing rain water "KHURRAS" size 600 x 450 mm required depth with lead flashing around rainwater pipe with one piece lead sheet of 3 mm thick set on a layer of cold bitumen. Including heavy duty CI grating complete as required. | 1 | No. | 0 |  | 0
|  |  | No. | 0 |  | 0
36 | Providing and fixing rain water "KHURRAS" size 450 x 450 mm required depth with lead flashing around rainwater pipe with one piece lead sheet of 3 mm thick set on a layer of cold bitumen. Including heavy duty CI grating complete as required. | 1 | No. | 20 |  | 0
|  |  |  | 0 |  | 0
37 | Providing and fixing rain water "KHURRAS" size 300 x 300 mm required depth with lead flashing around rainwater pipe with one piece lead sheet of 3 mm thick set on a layer of cold bitumen. Including heavy duty CI grating complete as required. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
38 | Providing, fixing Air Admittance Valve (AAV) which is a one way valve designed to allow air to enter the plumbing drainage system when negative pressures develop in the piping system. The device shall close by gravity and seal the vent terminal at zero differential pressure (no flow conditions) and under positive internal pressures. | 1 | No. | 0 |  | 0
a | 110mm dia |  | No. | 290 |  | 0
b | 160mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
39 | Supply, Installation, Testing and commissioning of P.A.P.A. (Positive Air Pressure Attenuator) including all necessary fittings like elbow, tee, reducer, MTA, FTA, consumables etc. complete as directed. | 1 |  | 0 |  | 0
a | 75 mm dia |  | No. | QRO |  | 0
b | 110 mm dia |  | No. | QRO |  | 0
b | 160 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
40 | Charges for SEWER Line Connection with Municipality Network Chamber with required all necessary material and accessories | 1 | JOB | 1 |  | 0
|  |  |  | 0 |  | 0
41 | Charges for STORM WATER Line Connection with Municipality Network Chamber with required all necessary material and accessories | 1 | JOB | 1 |  | 0
0
| TOTAL OF SECTION-C INTERNAL SAVAGE/DRAINAGE NETWORK CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
D | PUMP ROOM : |  |  | 0
0
(If Pumps and all accessories will be supplied by client free of cost, However the pumps unloading, Lifting and shifting at site, erection, testing and commissioning of pump, with providing of Foundation bolts, Chemical anchor for fixing of pump with foundation in Contractor’s scope and GA drawing for foundation as per recommendation of pump manufacturer to be provided by contractor)
1 | Installation, testing and Commissioning of submersible/ water supply Pumps. (Labour Only - Flexible pipe, hose clamps will be supplied by client free of cost. Valve, NRV or any other accessories, charges for unloading, shifting shall be paid separately in relevant items). Without electrical/Automation work | 1 |  | 0
a | Up to 5 HP |  | No. | QRO |  | 0
b | Up to 10 HP |  | No. | QRO |  | 0
c | Up to 15 HP |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
2 | Surface Hydro-Pneumatic System for Domestic and Flushing Water supply : | 1 |  | 0 |  | 0
| Compact self contained Hydro-booster system comprising of following : |  |  | 0 |  | 0
| SITC of Vertical In-line/Horizontal multi-stage, centrifugal clear water pumps with AISI304 Impeller and AISI316 Shaft, Cast Iron (FG260) Suction and Discharge with CED coating, TEFCIP55 motor (with Mechanical seal)Vendor to submit performance curves and technical catalogue of the proposed model for review and information |  |  | 0 |  | 0
| Controller with colour touch screen display and Variable Frequency Drive(individual VFD) integrated in a single body with pressure sensor transmitter, programming to indicate pump ready, pump running and fault in display and capable to communicate with other controllers following MODBUS-RTU protocol through RS485 port along with electrical panel separate for each system. System should be capable to compensate for frictional losses at lower flows. All alarms should be displayed in the controller. System should be equipped with dry running protection. Indication of all type of faults / on-off status / electrical parameters shall be available on display and central BMS monitors. Also able to work with pressure switch in manual mode operation. Source from same manufacturer of pump. |  |  | 0 |  | 0
| Pre-charged diaphragm pressure vessel with interchangeable membrane, charging connection, connected to outlet header with necessary flanges, gaskets, isolating valves, nuts/bolts etc. complete (size of pressure vessel as per manufacturer recommendation). |  |  | 0 |  | 0
| Set of accessories such as G.I headers (with zink coating) for suction and discharge, control valves, non return valves, pressure switches, pressure transducers, pressure gauge, common skid, inter connecting power and control cabling etc. Complete. |  |  | 0 |  | 0
| Set of Solenoid valve (IP68), control panel and y-strainer to maintain water level in OHT with float switch should be provided |  |  | 0 |  | 0
a | Domestic water feed pumps for water supply ( UGWT to OHWT FOR TERRACE ) |  | Set | 1 |  | 0
| Flow Capacity: 17.5 m3/hr (292LPM) each pump Head - 75 Mtrs. Pressure Tank - By Vender (Min. 200 Ltrs.) 1 Set = (3 Working + 1 Standby - cascade operation) Suction head - Positive suction For Domestic water purpose ( UGWT to OHWT FOR TERRACE ) PUMP LOCATION - BASEMENT above system along with electrical panel |  |  | 0 |  | 0
b | Domestic water feed pumps for water supply ( UGWT to SHOPS FLOOR ) |  | Set | 1 |  | 0
| Flow Capacity: 15 m3/hr (250LPM) each pump Head - 45 Mtrs. Pressure Tank - By Vender (Min. 200 Ltrs.) 1 Set = (1 Working + 1 Standby - cascade operation) Suction head - Positive suction For Domestic water purpose ( UGWT to SHOPS FLOOR ) PUMP LOCATION - BASEMENT above system along with electrical panel |  |  | 0 |  | 0
c | Flushing water feed pumps for water supply to ( UGWT to OHWT FOR TERRACE ) |  | Set | 1 |  | 0
| Flow Capacity: 9 m3/hr (150 LPM) each pump Head - 75 Mtrs. Pressure Tank - By Vender (Min. 200 Ltrs.) 1 Set = (3 Working + 1 Standby - cascade operation) Suction head - Positive suction For Domestic water purpose ( UGWT to OHWT FOR TERRACE ) PUMP LOCATION - BASEMENT above system along with electrical panel |  |  | 0 |  | 0
d | Flushing water feed pumps for water supply to ( UGWT to SHOPS FLOOR ) |  | Set | 1 |  | 0
| Flow Capacity: 15 m3/hr (250LPM) each pump Head - 45 Mtrs. Pressure Tank - By Vender (Min. 200 Ltrs.) 1 Set = (1 Working + 1 Standby - cascade operation) Suction head - Positive suction For Domestic water purpose ( UGWT to SHOPS FLOOR ) PUMP LOCATION - BASEMENT above system along with electrical panel |  |  | 0 |  | 0
e | Domestic water feed pumps for water supply (Terrace Pressure system) |  | Set | 5 |  | 0
| Flow Capacity: 10 m3/hr (167 LPM) each pump Head - 35 Mtrs. Pressure Tank - By Vender (Min. 200 Ltrs.) 1 Set = (2 Working + 1 Standby - cascade operation) Suction head - Positive suction For Domestic water purpose (Terrace Pressure system ) PUMP LOCATION - TERRACE above system along with electrical panel |  |  | 0 |  | 0
|  |  |  | 0 |  | 0
3 | Supplying and installing of Submersible drainage sump pumps with free standing or on an auto coupling system, pump with grinder mechanism or semi open impeller for min. 40-45mm free passage. pump with temparature sensor in case of overheating, with 10mtr. cable. (1 working+ 1 standby) with Sump pit lifting assembly suitable for 2 Nos. Submersible drainage pumps in a sump of overall depth not more than 1.6 m, ready made electro – galvanized MS lifting chain , class C GI pipe header complete with discharge manifold, flanges, tee, elbow etc. complete including electrical panel, Float switch GI pipe up to the top of sump and including GI union. The installation shall be complete with all necessary indigenous accessories as required to complete the installation. | 1 |  | 0 |  | 0
a | Sump Pump System FLOW:- 12.5 m3/hr. (209 LPM) each pump Head:- 25 Mtr. (1 Working+1 Standby - cascade operation ) Partial- 50mm Partial handling Capacity Motor:- 1.3 kw/ 1.8 HP / 3Phase (Each Pump) |  | Set | 2 |  | 0
|  |  |  | 0 |  | 0
4 | Providing & fixing of G.I. Pipe class 'C' (heavy duty) as per IS:1239 including all accessories such as screwed / welded joints, flanges, tees, reducers, clamps etc. including lift to all heights, welding, jointing, painting and inserted rubber gaskets, nuts, bolts etc. as required. Pipes shall be painted with one coat of primer & two coats synthetic enamel paint. shall be fixed in walls, columns for all heights with hangers and fasteners. In case of requirement of structural steel supports, shall be paid separately. (Note- Pipe Screwed Up to 50mm dia and welded above 50 mm dia) | 1 |  | 0 |  | 0
a | 32 mm Dia |  | Rmt. | QRO |  | 0
b | 40 mm Dia |  | Rmt. | 0 |  | 0
c | 50 mm Dia |  | Rmt. | 1519 |  | 0
d | 65 mm Dia |  | Rmt. | 493 |  | 0
e | 80 mm Dia |  | Rmt. | 21 |  | 0
f | 100 mm Dia |  | Rmt. | QRO |  | 0
g | 150 mm Dia |  | Rmt. | QRO |  | 0
h | 200 mm Dia |  | Rmt. | QRO |  | 0
i | 250 mm Dia |  | Rmt. | 0 |  | 0
|  |  |  | 0 |  | 0
5 | Providing and fixing UPVC pipes confirming to ASTM standard D 1785 SCH-80 complete Fittings, Tee, bends, reducers flanges, plugs unions etc. including necessary clamps, tie rod, anchor fasteners etc. | 1 |  | 0 |  | 0
a | 50 mm dia |  | Rmt. | QRO |  | 0
b | 65 mm dia |  | Rmt. | 25 |  | 0
c | 80 mm dia |  | Rmt. | 53 |  | 0
d | 100 mm dia |  | Rmt. | 105 |  | 0
|  |  |  | 0 |  | 0
6 | Supply, installation, testing, commissioning Gun metal screwed end ‘Y’ type strainer with stainless steel fine mesh perforated sheet basket with necessary Nipple, Brass insert CPVC/ UPVC MTA or FTA, flange/union, nuts, bolts and washers complete as required | 1 |  | 0 |  | 0
a | 15 mm Dia |  | No. | QRO |  | 0
b | 20 mm Dia |  | No. | QRO |  | 0
c | 25 mm Dia |  | No. | QRO |  | 0
d | 32 mm Dia |  | No. | QRO |  | 0
e | 40 mm Dia |  | No. | QRO |  | 0
f | 50 mm Dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
7 | Supply, installation, testing, commissioning Cast Iron Flange end ‘Y’ type strainer with stainless steel fine mesh perforated sheet basket with necessary flange/union, gasket, nuts, bolts and washers complete as required | 1 |  | 0 |  | 0
a | 65 mm Dia |  | No. | 0 |  | 0
b | 80 mm Dia |  | No. | 5 |  | 0
c | 100 mm Dia |  | No. | 9 |  | 0
d | 150 mm Dia |  | No. | QRO |  | 0
e | 200 mm Dia (Bucket Type) |  | No. | QRO |  | 0
f | 250 mm Dia (Bucket Type) |  | No. | 0 |  | 0
|  |  |  | 0 |  | 0
8 | Supply, Installing, testing and commissioning C.I butterfly valve (Lever operated), wafer end type class PN 16 as per I.S:13095 or BS:5155, including providing of necessary flanges, nuts & bolts (GI), gaskets etc., complete (including cost of flanges) as per drawings, specification and as directed by the Engineer's Representative. | 1 |  | 0 |  | 0
a | 50 mm dia |  | No. | QRO |  | 0
b | 65 mm dia |  | No. | 8 |  | 0
c | 80 mm dia |  | No. | QRO |  | 0
d | 100 mm dia |  | No. | 4 |  | 0
e | 150 mm dia |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
9 | Supply, Installing, testing and commissioning C.I butterfly valve (Gear operated), wafer end type class PN 16 as per I.S:13095 or BS:5155, including providing of necessary flanges, nuts & bolts (GI), gaskets etc., complete (including cost of flanges) as per drawings, specification and as directed by the Engineer's Representative. | 1 |  | 0 |  | 0
a | 150 mm dia |  | No. | 0 |  | 0
b | 200 mm dia |  | No. | 0 |  | 0
c | 250 mm dia |  | No. | 0 |  | 0
|  |  |  | 0 |  | 0
10 | Providing and fixing Dual plate wafer type non return valve [PN 10] conforming to IS:778 tested to 16 Kg/Sq.cm pressure complete with all fitting and accessories i.e. rubber gasket, flanges, union, nuts, bolts, washer etc. | 1 |  | 0 |  | 0
a | 50 mm dia |  | No. | QRO |  | 0
b | 65 mm dia |  | No. | 8 |  | 0
c | 80 mm dia |  | No. | QRO |  | 0
d | 100 mm dia |  | No. | QRO |  | 0
e | 150 mm dia |  | No. | QRO |  | 0
f | 200 mm dia |  | No. | QRO |  | 0
g | 250 mm dia |  | No. | 0 |  | 0
0
| TOTAL OF SECTION-D PUMPROOM CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
E | MISCELLANEOUS : |  |  | 0
0
1 | WATER TANK COVER Providing and fixing 600 mm dia FRP covers of 12.5T load bearing capacity water tank cover fixed with cement mortar as required. | 1 | No. | 20 |  | 0
|  |  |  | 0 |  | 0
2 | Providing and fixing 600 mm to 1000 mm long (As per wall thickness ) hot dipped G.I. Puddle flanges with epoxy coated, for water tanks as per I.S. 1239 (Class B) with Puddle Plate up to 150mm dia pipe and 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 of above 150mm to 400mm dia suitable size and welded all around the pipe fixed in walls, beams and top slab of R.C.C tanks (underground and OH Tank ) , GRP/SMC Panel tank, complete with all details in all respects and as per drawing. (Pipe puddle flange/plate size as per technical spec/sleeve details ) | 1 |  | 0 |  | 0
a | 40 mm dia (6 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
b | 50 mm dia (6 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
c | 65 mm dia (8 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
d | 80 mm dia (8 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
e | 100 mm dia (12 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
f | 150 mm dia (12 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
g | 200 mm dia (12 mm Thick plate) - GI Pipe |  | No. | QRO
h | 250 mm dia (12 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
i | 300 mm dia (12 mm Thick plate) - GI Pipe |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
3 | M.S. STRUCTURAL WORK | 1 |  | 0 |  | 0
| Providing and fixing M.S. structural work fabricated from standard sections, (MS rounds, angles, channels etc.) including cutting to size, drilling, welding, including cost of fasteners in RCC structural members as directed, including two coats of synthetic paint over one coat of primer after surface preparation. |  | Kgs. | 700 |  | 0
|  |  |  | 0 |  | 0
4 | Providing, installation and testing of 3 layer HDPE tank with necessary connections for inlet, outlet, overflow and drain. Rate must be quoted considering lifting at all heights. Flange connections including necessary HDPE pipe, Flange to be welded by extrusion welding method with necessary stiffeners to be provided for connections above 2" dia. | 1 |  | 0 |  | 0
a | 1000 ltrs |  | No. | 0 |  | 0
b | 2000 ltrs |  | No. | 0 |  | 0
c | 3000 ltrs |  | No. | QRO |  | 0
d | 5000 ltrs |  | No. | QRO |  | 0
e | 10000 ltrs |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
5 | Making core drills in rcc slab/walls/beam of various thickness including necessary chipping by breaker or manually to make surface rough for grouting purpose and making good the same with GP-II grouting. (Waterproofing shall not be a part of this item.) | 1 |  | 0 |  | 0
a | 77 mm x up to 150 mm thick |  | No. | QRO |  | 0
b | 77 mm x up to 200 mm thick |  | No. | QRO |  | 0
c | 77 mm x up to 250 mm thick |  | No. | QRO |  | 0
d | 102 mm x up to 150 mm thick |  | No. | QRO |  | 0
e | 102 mm x up to 200 mm thick |  | No. | QRO |  | 0
f | 102 mm x up to 250 mm thick |  | No. | QRO |  | 0
g | 125 mm x up to 150 mm thick |  | No. | QRO |  | 0
h | 125 mm x up to 200 mm thick |  | No. | QRO |  | 0
i | 125 mm x up to 250 mm thick |  | No. | QRO |  | 0
j | 152 mm x up to 150 mm thick |  | No. | QRO |  | 0
k | 152 mm x up to 200 mm thick |  | No. | QRO |  | 0
l | 152 mm x up to 250 mm thick |  | No. | QRO |  | 0
m | 200 mm x up to 150 mm thick |  | No. | QRO |  | 0
n | 200 mm x up to 200 mm thick |  | No. | QRO |  | 0
o | 200 mm x up to 250 mm thick |  | No. | QRO |  | 0
p | 250 mm x up to 150 mm thick |  | No. | QRO |  | 0
q | 250 mm x up to 200 mm thick |  | No. | QRO |  | 0
r | 250 mm x up to 250 mm thick |  | No. | QRO |  | 0
|  |  |  | 0 |  | 0
6 | Providing and fixing Electronic type level indicator for water tanks mounting in panel with provision of connect to BMS including wiring with the following features, level display, alarm when water level is low or high, full range from one level to four level display and manual reset for Alarm etc. with electrical wiring conduit supports from wall & ceiling probes and all other accessories complete as required. (For Water Tanks) | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
7 | Supply, installing, testing and commissioning of annunciation and indication panel with interlocking arrangement complete in accordance to specification with level controller (In Raw Water, Domestic Water , STP Treated water tank & Fire Water Tank : High / Low Level Controller) etc with control cabling from field to MCC as required. | 1 | No. | QRO |  | 0
|  |  |  | 0 |  | 0
8 | Supply, installing, testing and commissioning of WATER COOLER (DRINKING WATER AREA) Type – Fully Stainless Steel Cold Water Cooler Body Material – SS-304 Stainless Steel Storage Capacity – 120 ltrs Cooling Capacity – 80 ltrs / hr Power Supply- 230V/50Hz/1Ph | 1 | No. | 0 |  | 0
|  |  |  | 0 |  | 0
| TOTAL OF SECTION-E MISCELLANEOUS : CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
F | RAIN WATER HARVESTING SYSTEM : |  |  | 0
1 | Construction of Rain water harvesting size 2.5 m dia x 3.5m effective depth for the re-charging of storm water run off including the civil work with following specification [Construction of Chamber]. | 1 |  | 0
a | De-Silting Chamber: Providing and constructing masonry de-silting chamber 1800mm x 1500mm with required depth inside with 75 class designated brick work in cement mortar 1:6 (1cement : 6 fine sand) with C.I double seal medium duty 560mm dia manhole cover (2Nos.). top slab 1:2:4 mix (1cement : 2coarse sand : 4 graded stone aggregate 20mm nominal size) with minimum 1.5% reinforcement, foundation concrete 1:5:10 (1cement : 5 fine sand:10 grade stone aggregate 20mm nominal size including baffle wall, necessary excavation, back filling and disposal of surface earth. Complete with inlet, outlet and overflow arrangement. Foot rest @400mm c/c, grating of required size with 16mm sq. bars and frame @20mm clear spacing fixed at month of pipe as per site conditions and direction of Engineer in charge |  |  | 0
b | Drilling: Drilling percolation borehole 200mm dia with reverse rotary method in all types of soil up to 50 m (approx.) depth including cost for mobilization of rig and making good the area upon completion of work. Contractor shall arrange for all necessary tools, water and consumable and laying for drilling. Providing and laying pea gravel all around the casing pipe. Providing and laying 160 mm dia slotted UPVC pipe of 6 Kg/cm2 - 35 m -40m or as per site sub-strata or set as per direction of Engineer- in charge 160 mm dia UPVC blind pipe ( Top PVC Cover ) of 6 Kg/cm2. |  |  | 0
c | Rain Water Harvesting Well Filtration Chamber: Providing and constructing rain water harvesting well/filtration chamber of size 2.5 m dia x 3.5 m eff. depth inside with 75 class designated brick work in cement motor 1:6 (1cement : 6 fine sand) with 560mm dia C.I double seal medium duty manhole cover with top slab 1:2:4 mix (1cement : 2 course sand :4 graded stone aggregate 20mm nominal size) with minimum 1.5% reinforcement , foundation concrete 1:5:10 (1cement : 5 fine sand and 10 graded stone) aggregate 20mm nominal size including 300mm duty. Boulder 10-20mm, 300mm duty, gravel 5-10mm size, 300mm depth coarse sand 1.5-2.0mm including necessary excavation, back filling and disposal of surface earth complete with inlet, outlet, overflow arrangement pvc coated Foot Rest, 100mm dia deep holes @500mm c/c to be provided 1200 c/c above the bottom of wall, 100mm C.I vent pipe -2m height with cowls. Rate shall include excavation, back filling and all other operations necessary for completing the job. |  |  | 0 |  | 0
| Rain Water harvesting system complete set as per above details |  | Set | 2 |  | 0
| TOTAL OF SECTION-F RAIN WATER HARVESTING SYSTEM : CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
G | HOT WATER SYSTEM |  |  | 0
| EQUIPMENTS |  |  | 0
1 | HEAT PUMP | 1 |  | 0
| Supply, installation, testing and commissioning of Hot Water Generation Plant with Packaged type Air to Water Heat Pump > Working on Power supply: 380~415V/3N~/50Hz > Rated Heating Output : ____ Kw. > Rated Heating Input : _____ Kw/hr > Rated produce water capacity: _______ liter/hr @ 40°C ΔT. > COP: ______ > Refrigerant:- ______ > Scroll compressors : ______ > Rated outlet hot water temp.: _____ > Max. Outlet hot water temp.: ______ > For Testing: Use side initial water temp.: ______ > Setting water temp. 55°C, Max. temp.: 60°C,DB / WB: 20°C/15°C. > Operating Ambient temp. 0 to 46° Steel case in copper heat exchanger, Copland compressor, Eco friendly refrigerant, Emerson Expansion valve, Multi function digital control panel, These units shall be completely factory assembled including. Scroll Hermatically Sealed Scroll Compressor(s), evaporator. The Heat Pump shall have inbuilt hot water heat exchanger, pumps, valves. expansion valve, integrated CIP system and other accessories. |  |  | 0
| a. Electric panel for heat pump,On off switch, MCB/ELCB safety, On off indicator, powder coated cabinet. Panels suitable for controlling of :- _____ Nos Heat pumps, _____ Nos water circulation pump & _____ Nos return pumps. |  |  | 0 |  | 0
| b. All other mountings, fittings & controls with all accessories and safeties |  |  | 0 |  | 0
| c. All interconnecting wiring / cabling between heat pump and electrical panel. |  |  | 0 |  | 0
| d. The Heat pump shall have an in-built facility to start / stop depending on variation in demand at different periods. |  |  | 0 |  | 0
| e. System shall be complete with Heat Exchangers, Return Recirculation Pump, interconnecting piping, valves and all accessories as required. Complete system ready to Installed at site (Ready for In and Out Connection) |  |  | 0 |  | 0
| Heat Pump Capacity : _______ LPH @ ΔΤ 40° C. |  | SET | 0 |  | 0
| Water Circulating Pump (1W + 1S) of suitable capacity to match the:- Flow: ______ m³/hr. (________ LPH) @ ______ M head |  | SET | 0 |  | 0
| Hot Water Return Circulation pump (1W + 1S) of suitable capacity to match the:- Flow: ______ m³/hr. (2500 LPH) @ ____ M head |  | SET | 0 |  | 0
| Hot Water Mixing Tank (STORAGE TANK) Supply, Installation, Testing & Commissioning of Pre-fabricated Pre-insulated with Storage tank of thick sheet SS-304 L, Vertical of following capacities with each consisting of proper supports above floor level made from channels. It shall have all the inlet & outlet connections suitable Nozzles for cold water inlet , hot water outlet , hot water return , PHE inlet and outlet , drain line pressure gauge , temperature gauge and safety valve as per the P&ID & layout shared. Tank shell shall be designed to withstand inside working pressure up to 6 kgs/cm2. & Testign Pressure 8 kgs/cm2. Safety measures shall be done for tank protection and 50 mm thick rockwool insulation having density 100 kg/m³ with 26 gauge aluminium cladding . _________ Litres Capacity pressurized mixing tank. |  | No. | 0 |  | 0
0
| TOTAL OF SECTION-G HOT WATER SYSTEM : CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
H | GREASE SEPERATOR |  |  | 0
1 | supply , Installation , testing and commissioning of NS 10 Capacity above ground Grease Separator based on DIN EN 1825 With material HDPE grease separators design with grease discharge pump ( Pump Flow as per company recommendation ) up to ground floor service entry level for full disposal, sludge and grease are collected in the separator container and No metallic components in chamber. grease separator NS 10 with 1000 ltrs sludge , 520 ltrs Grease with overall capacity of 2000 ltrs with DN 160 inlet & outlet made up of HDPE emptying while suction line DN 65 P10. For free standing installation in frost free areas, with integrated sludge trap and sloped walls for quick and efficient disposal, polyethylene quick release odor tight covers, with direct disposal remains after disposal. Contractor / Supplier should be submitted proper technical data sheet with all installation details as per specify Standards guide lines. All hangers, MS Stand for suspended grease trap with clamps, brackets, anchor/fixed support, guides, rollers etc. shall be of galvanized iron unless specified otherwise and then supply and installation of the same shall also be included for rates under this head. Welding of any kind on the galvanized support / hanger shall not be permitted. Note : MS Platform for Grease separator to be design as per dynamic load of equipment and as per Engineer in charge direction. | 1 | No. | 0 |  | 0
0
I | Water Treatment plant |  |  | 0
| For Fresh Water Treatment |  |  | 0
1 | Providing, fixing, testing and commissioning of vertical self supporting Multi Grade Filter, in MSEP vessels, pressure gauges at inlet & outlet, sample cock, air vent valve with piping, C-PVC, SDR 11.0 grade face piping distribution pipe with diffuser on top, CI butterfly valves Multiport valve and all accessories, with initial charge of filter media for multi-grade filter, complete. (Contractor has the responsibility to check the quality of water from actual water analysis report before procuring the equipments) | 1 |  | 0
| Capacity - ______ m3/hour |  |  | 0
| Filter dia (approx.) - ______ mm |  |  | 0
| Working pressure - 3.0 Kg/Sq.cm |  |  | 0
| Test pressure - 10.0 Kg/Sq.cm |  |  | 0
a | Supply |  | Set | 0 |  | 0
b | Erection, testing & commissioning |  | Set | 0 |  | 0
|  |  |  | 0 |  | 0
2 | Providing, fixing, testing & commissioning vertical self supporting Activated Carbon Filter (ACF) in MSEP vessels, pressure gauge at inlet & outlet, sample cock, C-PVC SDR 11.0 grade face piping, C.I. Butterfly valve / Multiport Valve and all accessories, air vent valve with piping, with initial charge of filter media for activated carbon filter, complete. (Contractor has the responsibility to check the quality of water from actual water analysis report before procuring the equipments) | 1 |  | 0 |  | 0
| Capacity -________ m3/hour |  |  | 0 |  | 0
| Filter dia (approx.) - _______ mm |  |  | 0 |  | 0
| Working pressure - 3.0 Kg/Sq.cm |  |  | 0 |  | 0
| Test pressure - 10.0 Kg/Sq.cm |  |  | 0 |  | 0
a | Supply |  | Set | 0 |  | 0
b | Testing & commissioning |  | Set | 0 |  | 0
|  |  |  | 0 |  | 0
3 | Providing, fixing, testing & commissioning of metering pump type chemical doser with _________ litres. HDPE/ FRP solution tank, injection fitting assembly, suction and delivery hose up to the point of injection, capacity 0-20 lph, complete in all respects for treated water tank. | 1 |  | 0 |  | 0
a | Supply |  | Set | 0 |  | 0
b | Testing & commissioning |  | Set | 0 |  | 0
|  |  |  | 0 |  | 0
4 | Providing , fixing, testing and commissioning of water softener in MSEP vessels (shell & thick dished ends) complete with initial charge of resins, C-PVC SDR 11.0 grade face piping, CI butterfly valves, pressure gauge, hydraulic brine injector, accessories, including suitable PVC/HDPE brine tank of 2 regeneration capacity complete with resins of approved quality and make. (Contractor has the responsibility to check the quality of water from actual water analysis report before procuring the equipments) | 1 |  | 0 |  | 0
| Hardness Inlet - ________ PPM (Approx.) |  |  | 0 |  | 0
| Hardness Outlet - <50 PPM) |  |  | 0 |  | 0
| Capacity - ________ m3/hour |  |  | 0 |  | 0
| OBR - _______ m3 |  |  | 0 |  | 0
| Operating pressure - 3.0 kg/Sq.cm |  |  | 0 |  | 0
| Test pressure - 10.0 Kg/Sq.cm |  |  | 0 |  | 0
| Resin Quantity - Fill by vendor |  |  | 0 |  | 0
| Vessels Dia (Approx) - Fill by vendor |  |  | 0 |  | 0
a | Supply |  | Set | 0 |  | 0
b | Testing & commissioning |  | Set | 0 |  | 0
|  |  |  | 0 |  | 0
5 | Supplying complete testing kit with all chemicals complete suitable for conducting test on water quantity. The test kit shall be suitable for measuring, TDS, PH, hardness, iron content etc. | 1 | Set | 0 |  | 0
|  |  |  | 0 |  | 0
6 | Supply, fixing, testing and commissioning of UV Stabilizer consisting of 4 nos UV Lamps, flow of 19cum/hr, with electronic ballast, operating at 30-50khz, sheet steel with electrophoretic dip coat priming and textured powder coating, UV dosage of > 30000u W-sec/cm2 @ EOL, with MS Frame and stand for holding the unit with all accessories etc. Complete. | 1 | Set | 0 |  | 0
|  |  |  | 0 |  | 0
7 | Supply & fixing of On-line auto UV system for disinfection of water, SS UV housing with power unit (starter) and standard UV lamp. UV system should have arrangement to diagnose failure of UV lamp, all necessary piping & equipment etc. working at minimum pressure of 12-13 kg/sq. cm. as per specification. Capacity : _________M3/Hr. | 1 | Set | 0 |  | 0
|  |  |  | 0 |  | 0
8 | Supply, installation, testing and commissioning of Online Smart water quality monitoring system to collect real time water quantity parameters such as pH, TSS, TDS, Residual Chlorine Measurement and microflora. The system shall be installed after UV treatment in Ring main unit having weather proof connection, with data logging device having IP68 housing with required isolated flow signal with paddle wheel flow sensor, microprocessor based transmission option for flow pattern recording with GSM / GPRS modern interface feature including 10 meter long cable for 12-24V DC power supply and 12V 3500mAh battery capacity, communicate all data to BMS, BMS Compatible including all necessary fixing arrangement as per design/ drawing as approved. | 1 | Set |  |  | 0
|  |  |  | 0 |  | 0
| TOTAL OF SECTION-I WATER TREATMENT PLANT : CARRIED OVER TO SUMMARY |  |  | 0 |  | 0
0
| GRAND TOTAL |  |  |  |  | 0
60759
59352
54662
4690